| Multiprogammable Dental Chair Unit Synchronize movement of Seat with Backres |
| --- |
| Nine Working Programmes Operated by Feather Touch Controls on Instrument Tray: Seat Up, Seat Down, Backrest Up, Backrest Down, Two Fix Programmes: Zero Programme & Spit Programme, Three Erasable Programmes |  |
| Rota table Glass Spittoon and Cup filler with auto water Programme on Instrument Tray |  |
| Under hanging Instrument Tray with 3Nos. Airotor point , 1No. 3-Way Syringe, 1No. Micromotor point |  |
| Instrument Tray is provided with Pneumatic locking System |  |
| Assistant Tray with Electric and Pneumatic based low and high suction with auto drain, 1No. 3-Way Syringe |  |
| Assistant Tray fitted with feather touch control for programmes: Seat Up, Seat Down, Backrest Up, Backrest Down, Zero Programme, Spittoon and Glass filler auto water Programme |  |
| Multi Function Foot Control: Seat Up, Seat Down, Backrest Up, Backrest Down, Spittoon and Glass filler auto water Programme, Micromotor on/off control, and Pneumatic control for Airotor working |  |
| Sensor and Manually operated Semiround Halogen Light with two operating intensity |  |
| Double Articulating Head Rest |  |
| Cotton waste holder on instrument tray |  |
| LED X-ray Viewer |  |
| Dentist Stool. |  |

Dental Chair Unit – Zest +

Multiprogrammable Dental Chair Unit

Six Working Programmes Operated by Feather Touch Controls on Instrument Tray: Seat Up, Seat Down, Backrest Up, Backrest Down, Two Fix Programmes: Zero Programme & Programme with Seat Up and Backrest Down

Rota table Glass Spittoon and Cup filler with auto water Programme on Instrument Tray

Under hanging Instrument Tray with 2Nos. Airotor point , 1No. 3-Way Syringe, 1No. Micromotor point

Instrument Tray is provided with Pneumatic locking System

Assistant Tray with Electric and Pneumatic based low and high suction with auto drain

Three Different Foot Controls:
Pneumatic Foot Control – for Airotor working. Also provided with facility to On/Off the water of Airotor.
Joystick – for Seat Up, Seat Down, Backrest Up, Backrest Down
Electric foot Control – for Micromotor on/off.

Sensor and Manually operated Semiround Halogen Light with two operating intensity

Double Articulating Head Rest

Cotton waste holder on instrument tray

LED X-ray Viewer

Dentist Stool.

Dental Chair Unit - Zest

Multiprogrammable Dental Chair Unit

Six Working Programmes Operated by Feather Touch Controls on

Instrument Tray: Seat Up, Seat Down, Backrest Up, Backrest Down, Two Fix Programmes: Zero Programme & Programme with Seat Up and Backrest Down

Ceramic Spittoon and Cup filler with auto water Programme on Instrument Tray

Under hanging Instrument Tray with 2Nos. Airotor point , 1No. 3-Way Syringe

Instrument Tray is provided with Pneumatic locking System

Assistant Tray with Pneumatic based low and high suction with auto drain

Two Different Foot Controls:
Pneumatic Foot Control – for Airotor working. Also provided with facility to On/Off the water of Airotor.
Joystick – for Seat Up, Seat Down, Backrest Up, Backrest Down

Manually operated Halogen Light with two operating intensity

Double Articulating Head Rest

Cotton waste holder on instrument tray

LED X-ray Viewer

Dentist Sto

Dental Oil-free Air Compressor Product Specification

Supply: 220Vac ± 10, 50 Hz. Power: 1.0 Hp/ 750W.

Dental Oral X-Ray Unit- Floor Model

Product Specification

| Power Supply :- 230V / 50Hz |  |
| --- | --- |
| X-Ray Tube :- 70KV, 10mA |  |
| Focal Spot :- 0.8mm |  |
| Focus to Skin Distance :- 20cm |  |
| Filtration :- 1.5Al |  |
| Exposure Time:- 0.01 - 2.99 seconds |  |
| Anatomic Programmes (Optional) :- 30 pre-set times with cordless remote. |  |

Dental Oral X-Ray Unit- Wall Model

Product Specification

Power Supply :- 230V / 50Hz. X-Ray Tube :- 70KV, 10mA. Focal Spot :- 0.8mm. Focus to Skin Distance :- 20cm. Filtration :- 1.5Al. Exposure Time:- 0.01 - 2.99 seconds. Anatomic Programmes (Optional) :- 30 pre-set times with cordless remote..

Dental Oral X-Ray Unit- Scissor Arm

Product Specification

Power Supply :- 230V / 50Hz. X-Ray Tube :- 70KV, 10mA. Focal Spot :- 0.8mm. Focus to Skin Distance :- 20cm. Filtration :- 1.5Al. Exposure Time:- 0.01 - 2.99 seconds. Anatomic Programmes (Optional) :- 30 pre-set times with cordless remote..

Dental Ultrasonic Scalar

Product Specification

Power input: 110V/220 - 240V~ 50Hz/60Hz 150mA. Main unit input: 24V~ 1.3A. Output power: 3W~20W. Frequency: 28kHz±3kHz. Water pressure: 0.1bar~5bar (0.01MPa~0.5MPa). Function : Scaling, Endo, Perio.

Dental Light Cure Unit

Product Specification

Power input: AC100V-240V 50Hz/60Hz. Light output: 650mW/cm² -800mW/cm². Three working modes: Full, Ramping, Pulse.. Time setting: 5s, 10s, 15s, 20s, 25s, 30s, 35s, 40s.. With wire or wireless. It can run directly on commercial power supply whilst the battery runs out..

Dental Clinical Micromotor

Product Specification

Speed :- 35,000 rpm. Low heat generation suitable for long use.

Dental Straight and Contra- Angle Handpiece

Product Specification

Speed : 35,000 rpm. Autoclavable.

Dental Intraoral Camera- MD- 770

Product Specification

Mini dental intra-oral Camera

CMOS Total Pixels: 640x480 pixels. Magnification: 30-50 Times. Image Sensor: 1/4" CMOS. Lamp: 6 pcs white LED(5600K). Consumption Current: 80mA (Max.). Focus Range: 13-16mm.

Dental Intra Oral Camera- MD- 970

Product Specification

Super-wide automatically adjusting-focus lens. Six white LEDs. With Capture button. With Power on/off button. With 1000mA Lithium battery. With Zoom button 1X~4X.